THE CORPORATION OF THE CITY OF FERNIE

BYLAW NO. 1593

A bylaw to provide for the imposition of charges against the owner or occupier of real property for the connection to and use of the City’s sanitary sewerage collection and treatment process

WHEREAS the City has established a system of sewerage works for the collection, conveyance and disposal of sewage;

AND WHEREAS the Council is desirous of enacting a bylaw under the provisions of Section 611 of the Municipal Act, R.S.B.C. 1979, Chapter 290 (the “Act”);

NOW THEREFORE, the Municipal Council of the Corporation of the City of Fernie, in open meeting assembled enacts as follows:

# CITATION

1.	This Bylaw may be cited for all purposes as the “Sewer Connection and User Charge Bylaw”.

# DEFINITIONS

- In this Bylaw:

“B.O.D.” (denoting “Biochemical Oxygen Demand”) shall mean the quantity of oxygen utilized in the biochemical oxidation of organic matter under standard laboratory procedure in parts per million by weight;

“City” shall mean the Corporation of the City of Fernie;

“duly authorized agent” shall mean a person representing the owner and authorized in writing;

“industrial waste” shall mean waste resulting from a commercial process or manufacturing;

“sewer connection charge” shall mean the charge imposed herein for a service connection to the City’s sewer system;

“sewer surcharge” shall mean the charge imposed herein for the discharge of industrial waste into the City’s sewer system;

“sewer user charge” shall mean the charge imposed herein for use of the City’s sewer system;

“suspended solids” shall mean solids that either float on the surface of, or are in suspension in water, sewage or other liquids and which are removable by laboratory filtering;

# SCHEDULES

- Schedules “A”, “B”, “C” and “D”, as annexed hereto, are hereby made part of this Bylaw.

# IMPOSITION OF CHARGES

4.	(1)	There is hereby imposed and levied:-

- sewer user charge(s) against the owner or occupier of real property connected to the sewer system for the use of the City’s sewer system;

- a sewer connection charge against the owner of real property for the cost of providing a sewer connection to the property line from the sewer main; and

- a sewer surcharge against the owner of real property where industrial waste is discharged from that real property into the City’s sewer system.

- The sewer user charge is in an amount as set out in Schedule “A” and the sewer connection charge are in the amounts as set out in Schedule “B”

# APPLICATION FOR CONNECTION

5.	The owner of real property situated in the City may make application to the City on the prescribed form attached hereto as Schedule “C” for installation of a new service connection.

PAYMENT OF CHARGES

6.	(1)	The owner of real property on which a sewer user charge(s), a sewer connection charge or a sewer surcharge has been imposed is responsible for the payment thereof and notices of billings shall be sent to the owner.

- Payments shall be made at the offices of the City.

- Delivery of notice of sewer user charges, sewer connection charges and sewer surcharges shall be made by regular mail and receipt of such notice shall be conclusively deemed for all purposes to have occurred three (3) days after deposit for mailing at Canada Post Office.                                                     Bylaw No. 1813

BILLING

- The monthly rates will be billed quarterly. A 5% penalty shall be applied to unpaid balances on the account after the due date for each quarterly bill.

Discount                                                                                                        Bylaw No. 1906

Notwithstanding Section 6(1), a discount of 5% of the gross sewer user charges shall be allowed only for the prepayment of all twelve (12) monthly instalments on or before the last business day of February in each year, except that, in 2002, such discount shall be allowed for the prepayment of all twelve (12) monthly instalments on or before March 29, 2002.

TRANSITIONAL

8.	(1)	In case of a connection being made during a year, the sewer user charge imposed shall begin on the earlier of the following two (2) dates:

- the month during which final inspection of the sewer connection was made; or

- the date actual use commences.

- If made on or before the fifteenth (15th) day of any month, the full monthly sewer user charge shall apply; otherwise, the sewer user charge imposed for the first (1st) month shall be one-half (1/2) of the monthly charge imposed.

# CONSTRUCTION AND INSPECTION

9.	(1)	All service pipes and fittings which may be required by the city and as approved by the City, in accordance with Standards and Specifications Guide appendixed hereto as Schedule “D” shall be constructed and laid from the sewer main to the property line by the City at the expense of the owner, and the City shall be solely responsible for keeping the same in repair.

- All service pipes and fittings which may be required by the City to connect the service from the property line to any premises shall be constructed and laid by the owner, or his duly authoorized agent, in accordance with the Standards and Specifications Guide and to the approval of the City and at the expense of the owner, including payment of the sewer connection charges required under Schedule “B” and the owner shall be solely responsible for keeping the some in repair and protected from frost.

- The City Building Inspector and the Public Works Superintendent as Officer’s of the City are hereby authorized at all reasonable times to enter into and upon the property in respect of which sewer service is supplied by the City for the purposes of inspecting the sewer pipes, connections, fixtures, and any other apparatus used in connection with such sewer supply and to ascertain whether this Bylaw is being complied with.

# SEVERABILITY

- If any portion of this Bylaw is for any reason held to be invalid by a Court of competent jurisdiction, the invalid portion shall be severed without affecting the remainder of the Bylaw.

## REPEAL

- Bylaw No. 1409, cited as the “Sewer Connection and User Charge Bylaw No. 1409” and all amendments made hereto are hereby repealed.

Introduced and read a first time this 27th day of January, 1992.

Read a second time this 27th day of January, 1992.

Read a third time this 27th day of January, 1992.

Reconsidered, finally passed and adopted this 29th day of January, 1992.

##### G. M. Shatosky

### Mayor

### Jennifer Bridarolli

### Clerk

I hereby certify the foregoing to be the

#### Original Bylaw No. 1593

SCHEDULE “A-09”

#### Attached to and forming part of Bylaw No. 1593

Bylaw No. 2113

|  | CLASSIFICATION OF USE | Sewer User Charges Per Month Jan 01–Dec 31 2010 | Sewer User Charges Per Month Jan 01–Dec 31 2011 | Sewer User Charges Per Month Jan 01–Dec 31 2012 | Sewer User Charges Per Month Jan 01–Dec 31 2013 | Sewer User Charges Per Month Jan 01–Dec 31 2014 |
| --- | --- | --- | --- | --- | --- | --- |
| (1) | Single Family Dwellings | $19.13 per dwelling unit | $20.28 per dwelling unit | $21.50 per dwelling unit | $22.79 per dwelling unit | $24.16 per dwelling unit |
| (2) | Duplexes, Fourplexes, Apartments, Townhouses, Condominiums, Suites & Multi-Family Dwellings | $19.13 per dwelling unit | $20.28 per dwelling unit | $21.50 per dwelling unit | $22.79 per dwelling unit | $24.16 per dwelling unit |
| (3) | Mobile Homes/Trailers (in Mobile Home Subdivisions or Parks) | $19.13 per dwelling unit | $20.28 per dwelling unit | $21.50 per dwelling unit | $22.79 per dwelling unit | $24.16 per dwelling unit |
| (4) | Rooming and Boarding Houses | $23.87 minimum plus $ 1.08 per bedroom | $25.30 minimum plus $ 1.14 per bedroom | $26.82 minimum plus $1.21 per bedroom | $28.43 minimum plus $1.28 per bedroom | $30.14 minimum plus $1.36 per bedroom |
| (5) | Hotels and Motels | $5.90 per room | $6.25 per room | $6.63 per room | $7.03 per room | $7.45 per room |
| (6) | Cafes, Restaurants, Cocktail Lounges | $1.36 per seat | $1.44 per seat | $1.53 per seat | $1.62 per seat | $1.72 per seat |
| (7) | Garages and Service Stations | $15.69 per washroom | $16.63 per washroom | $17.63 per washroom | $18.69 per washroom | $19.81 per washroom |
| (8) | Car Washes | $36.18 per stall | $38.35 per stall | $40.65 per stall | $43.09 per stall | $45.68 per stall |
| (9) | Stores, Business Premises, Offices | $15.69 per washroom | $16.63 per washroom | $17.63 per washroom | $18.69 per washroom | $19.81 per washroom |
| (10) | Barber Shops and Beauty Parlours | $15.69 per chair (maximum 2 chairs) | $16.63 per chair (maximum 2 chairs) | $17.63 per chair (maximum 2 chairs) | $18.69 per chair (maximum 2 chairs) | $19.81 per chair (maximum 2 chairs) |
| (11) | Dental office | $19.13 per chair | $20.28 per chair | $21.50 per chair | $22.79 per chair | $24.16 per chair |
| (12) | Health Clinics | $31.35 per clinic | $33.23 per clinic | $35.22 per clinic | $37.33 per clinic | $39.57 per clinic |
| (13) | Laundromats | $7.48 per washer | $7.93 per washer | $8.41 per washer | $8.91 per washer | $9.44 per washer |
| (14) | Dry Cleaners | $39.56 per washer plus $15.69 per washroom | $41.93 per washer plus $16.63 per washroom | $44.45 per washer plus $17.63 per washroom | $47.12 per washer plus $18.69 per washroom | $49.95 per washer plus $19.81 per washroom |
| (15) | Theatres | $15.69 per washroom | $16.63 per washroom | $17.63 per washroom | $18.69 per washroom | $19.81 per washroom |
| (16) | Court Houses, Banks, Post Office | $23.87 | $25.30 | $26.82 | $28.43 | $30.14 |
| (17) | Hall (non rental) | $15.69 | $16.63 | $17.63 | $18.69 | $19.81 |
| (18) | Dance and Rental Halls/Banquet Rooms | $30.00 | $31.80 | $33.71 | $35.73 | $37.87 |
| (19) | Hospitals | $11.65 per bed | $12.35 per bed | $13.09 per bed | $13.88 per bed | $14.71 per bed |
| (20) | Schools | $11.65 per classroom | $12.35 per classroom | $13.09 per classroom | $13.88 per classroom | $14.71 per classroom |
| (21) | Swimming Pools | $38.77 per pool | $41.10 per pool | $43.57 per pool | $46.18 per pool | $48.95 per pool |

Bylaw No. 1813

SCHEDULE “B-99”

### Attached to and forming a part of Bylaw No. 1593

- DEFINITIONS

“lane” shall mean a highway used or intended to be used for secondary vehicular access to an  abutting property;

“street” shall mean a highway used or intended to be used for primary vehicular access to abutting properties;

- Sewer Service Connection Charges

Sewer main to property line charges between May 1st and October 31st

1998	1999	2000	2001	2002

100mm Sewer Connection

Street Base Costs:

Labour & Equipment Cost	$	1,008	$	1,058	$	1,111	$	1,167	$	1,225

100mm Sewer Material Cost	$	121	$	127	$	133	$	140	$	147

$	1,129	$	1,185	$	1,244	$	1,307	$	1,372

Lane Base Costs:

Labour & Equipment Cost	$	769	$	808	$	848	$	890	$	935

100mm Sewer Material Cost	$	183	$	192	$	201	$	211	$	222

$	952	$	999	$	1,049	$	1,102	$	1,157

150mm Sewer Connection

Street Base Costs:

Labour & Equipment Cost	$	1,008	$	1,058	$	1,111	$	1,167	$	1,225

150mm Sewer Material Cost	$	121	$	127	$	133	$	140	$	147

$	1,129	$	1,185	$	1,244	$	1,307	$	1,372

Lane Base Costs:

Labour & Equipment Cost	$	769	$	808	$	848	$	890	$	935

150mm Sewer Material Cost	$	183	$	192	$	201	$	211	$	222

$	952	$	999	$	1,049	$	1,102	$	1,157

If Applicable:  Add to Base Cost

Asphalt Material Cost	$	977	$	1025	$	1,077	$	1,130	$	1,187

Curb & Gutter Material Cost	$	389	$	408	$	428	$	450	$	472

Sidewalk Material Cost	$	515	$	540	$	567	$	596	$	625

Reduction for Common Trench in Street	$	(353)	$	(370)	$	(389)	$	(408)	$	(429)

Reduction for Common Trench in Lane	$	(269)	$	(283)	$	(297)	$	(312)	$	(327)

Where sewer service connections:

(i)	are larger than provided above, or

(ii)	are longer than the above maximum lengths, or

(iii)	are installed between the period November 1st to April 30th

the charges will be the actual cost to the City for materials, labour and equipment required to complete the connection plus a reasonable charge for administration.”

(3)	SEWER SERVICE DISCONNECTION CHARGES

1998	1999	2000	2001	2002

Street Base Costs:

##### Labour & Equipment Cost		 $   620	$   650	$   683	$   717	$   753

Material Cost – Average size	$    10	$     11 $     11	$     12	$     12

$   630$      661 $   694	$   729	$   765

Lane Base Costs:

##### Labour & Equipment Cost	$   425	$    447$   469	$   492	$   517

##### Material Cost – Average Size	$     10	$      11$     11	$     12	$     12

$   435	$    457$   480	$   504	$   529

# If Applicable :  Add to Base Cost

##### Asphalt Material Cost	$    977	$ 1,025    $ 1,077    $ 1,130	 $ ,187

##### Curb & Gutter Material Cost	$    389	$    408	$    428     $    450	 $  472

##### Sidewalk Material Cost	$    515	$    540	$    567     $   596   $  625

Reduction for Common Trench in Street	$  (217)   $   (228)	$  (239)    $  (251)  $(264)

Reduction for Common Trench in Lane	$  (149)   $   (156)	$  (164)    $  (172)	  $(181)

- SEWER SURCHARGE RATES

If a person discharges industrial waste or sewage to a sewer within, or entering the City exceeding any of the following characteristics and limits:

- A five (5) day Biochemical Oxygen Demand greater than seven hundred (700) milligrams per litre; or

- Containing more than four hundred (400) milligrams per litre of suspended solids; or

- Containing more than two hundred (200) milligrams per litre of oils and grease,

Then such person shall pay, in addition to the minimum sewer charges, a surcharge as follows where the strength of the sewage exceeds the preceding characteristics and limits:

- Charge for treating one (1) pound of Biochemical Oxygen Demand – 2.5 cents;

- Charge for treating one (1) pound of suspended solids – 1.0 cnts;

- Charge for treating one (1) pound of grease – 0.8 cents.

SCHEDULE “C”

### Attached to and forming a part of Bylaw No. 1593

THE CORPORATION OF THE CITY OF FERNIE

APPLICATION FOR NEW SEWER SERVICE CONNECTION

Roll No. ____________________________    Date: ________________________________

Name: ____________________________________________________________________

Address: ___________________________________________________________________

Box Number: _______________________________________________________________

Lot: ___________________   Block: _______________ Plan: _________________________

Telephone Number: ___________________________________________________________

Estimate of Cost: _____________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

I/we hereby acknowledge the above estimate and made this application fully understanding the cost could be higher than that estimated.

Signature of Applicant: ______________________________________________

SCHEDULE “D”

Attached to and forming a part of Bylaw 1593

SEWER CONNECTION SPECIFICATIONS GUIDE

General

Recognizing that within the municipality of Fernie, there may be instances where sewer service connections require a variation from the City’s Standards and Specifications.  This Schedule is offered as a guide in relation to this Bylaw.  Applicants seeking a sanitary sewer service connection should consult with the Public Works Superintendent of the City.  A plumbing permit from the City is required for a sewer service connection.  All sewer service connections must be made in accordance with the Plumbing Code.  Prior to backfilling, a sewer connection must be inspceted by a City Official.                                                                    Bylaw No. 1813

Sanitary Sewer Service Connection

Sanitary sewer services shall be minimum 100 mm in diameter at a minimum grade of 2.00 %.  Minimum cover shall be 1.85 metres.  Services shall be located at centre of lot or 3.0 metres from the low side of the lot boundary and shall be installed at right angles to the main.  Shared sanitary services shall not be permitted.

Service locations at stubs shall be marked by a two by four stake from the invert of the service of 0.5 mm above ground and painted green with an “S” and the depth from invert to top of stake marked on it.

Pipe and Fittings

The following pipe materials conforming to the appropriate specifications are acceptable for gravity sewer mains:

- Polvinylchloride (PVC) conforming to ASTM D3034, SDR35;

- Asbestos Cement (AC) conforming to ASTM C428 Class 2400 or Class 3300 or as required by the Approving Officer.

Service connection pipe shall be polyvinylchloride (PVC) SDR28 conforming to ASTM D3034 for 100 mm and 150 mm diameter.  Fittings for service connections shall be tees or wyes or other approved type of connection.

Sewer pipe and fitting shall be jointed with a rubber gasket or other preformed, factory manufactured gasket of approved material.  Joints for asbestos cement pipe shall be made using standard gasketted couplings.  Fittings shall meet the minimum requirements specified for the pipe.

Bedding Material and Backfill

Granular material for pipe bedding shall be clean sand, gravel, or crushed rock free from clay lumps, organic and other deleterious material.

Bedding for PVC and AC pipe shall be Class B; services shall also be Class B bedding and backfill as per Drawing number F1.5 attached.

Tie-ins to existing Sanitary Sewer

The Corporation shall be given 48 hours notice prior to making tie-ins existing sanitary sewer mains.  Tie-ins to existing sanitary sewer mains shall not be made until after lines have been flushed and tested.

Prior to installing the pipe, a layer of bedding material a minimum of 150 mm deep and for the full width of the trench shall be placed in the trench bottom and thoroughly compacted to 95% Modified Proctor Density.  After the pipe is in position, bedding material shall be placed around the pipe and compacted with hand tamping bars.

Bell or coupling holes shall be dug if necessary such that the full barrel of the pipe is supported throughout its length by the bedding material.

Care must be exercised in compacting the bedding to ensure that the pipe is not displaced.

Pipe Alignment and Grade

The pipe shall be installed true to alignment and grade shown on the approved construction drawings and to a depth to provide sufficient cover from the proposed finished grade.

Pipe Installation

Prior to pipe installation all standing water shall be drained or pumped from the trench.

Pipe shall be carefully lowered into the trench in such a manner that will prevent damage to the pipe.  Pipe shall be jointed in strict accordance with the manufacturer’s recommended practice.  When pipes are not being laid, the open end of the newly laid pipe shall be protected with a suitable bulkhead to prevent the entry of foreign material.

Pipe shall be set to within 3 mm of the designated vertical elevation, and to within 5 mm of the correct horizontal alignment.

THE CORPORATION OF THE CITY OF FERNIE

CONSOLIDATED SEWER CONNECTION

AND USER CHARGE BYLAW

BYLAW NO. 1593

Consolidated to Bylaws:

1612, Amendment #1

1747, Amendment #2

1777, Amendment #3

1813, Amendment #4

1906, Amendment #5

2113, Amendment #6

This document has been prepared for administrative convenience

only and is Not to be used for official purposes.

Certified copies of all City Bylaws are available from the City Clerk.